Section 00000

Security Access and Surveillance

HONEYWELL VIDEO SYSTEMS SURGE PROTECTOR MODULE FOR POWER AND VIDEO

PART 1 – GENERAL

The intent of this document is to specify the minimum criteria for the design, supply, installation, and commissioning of the Surge Protector Module for Power and Video.

  - SUMMARY

- The compact, high-quality surge protector module shall provide protection for power and video in one module.

  - REFERENCES

- Conformity for Europe (CE)

  - DEFINITIONS

- No Substitutes:  The exact make and model number identified in this specification shall be provided without exception.

- Or Equal:  Any item may be substituted for the specified item provided that in every technical sense, the substituted item provides the same or better capability and functionality.

- Or Approved Equal:  A substitute for the specified item may be offered for approval by the Owner.  The proposed substitution must, in every technical sense, provide the same or better capability and functionality as the specified item.  Such requests for approval shall be submitted in accordance with the provisions of PART 1.05 – SUBMITTALS, and must be obtained within the time frames outlined.

  - SYSTEM DESCRIPTION

- The compact, high-quality surge protector module shall provide protection for power and video in one module.

  - SUBMITTALS

- General:  Submittals shall be made in accordance with the Conditions of the Contract and Submittal Procedures Section.

- Shop Drawings and Schematics:  Shall depict the Surge Protector Module in final proposed “as built” configuration.  The following must be provided:

- Connection diagrams for interfacing equipment.

- List of connected equipment.

- Locations for all major equipment components to be installed under this specification.

- Product Data:  The following shall be provided:

- Technical data sheets.

- A complete set of instruction manuals.

- Quality Assurance Submittals:  The following shall be submitted:

- Checkout Report:  The Contractor shall provide the Owner with a checkout report for each Surge Protector Module.  The report shall include:

- A complete list of every device.

- The date it was tested, and by whom.

- If retested, the date it was retested, and by whom.

- The final test report shall indicate that every device was tested successfully.

- Manufacturer’s Instructions:  The Contractor shall deliver TBD sets of System Operation and Maintenance Manuals (if available) to the Owner.

- Notice of Completion:  When the final acceptance has been satisfactorily completed, the Owner shall issue a notice of completion to the Contractor.

  - QUALITY ASSURANCE

- Manufacturer’s Qualifications:  The Surge Protector Module manufacturer shall be a leading manufacturer of quality surge protection products for a minimum of ten (10) years.

  - DELIVERY, STORAGE, AND HANDLING

- General:  Delivery, storage, and handling of the Surge Protector Module shall be in accordance with the manufacturer’s recommendations.

- Ordering:  The manufacturer’s ordering instructions and lead-time requirements must be followed in order to avoid installation delays.

- Delivery:  The Surge Protector Module shall be delivered in the manufacturer’s original, unopened, undamaged container with identification labels intact.

- Storage and Protection:  The Surge Protector Module shall be stored and protected from exposure to harmful weather conditions and at the environmental conditions recommended by the manufacturer.

  - PROJECT CONDITIONS

  - SEQUENCING

  - SCHEDULING

  - WARRANTY

- General:  The warranty period shall be a minimum of thirty-six (36) months from the manufacture date code under normal use and service.

  - MAINTENANCE

- Preventative Maintenance Agreement During Warranty:  As a separate price item, the Contractor shall provide preventative maintenance during the warranty period.  Maintenance shall include, but no be limited to:

- Labor and materials, at no additional cost, to repair the Surge Protector Module.

- Labor and materials, at no additional cost, to provide test and adjustments to the Surge Protector Module.

- Regular inspections.

- Preventative Maintenance Agreement:  As a separate price item, the Contractor shall provide a complete Maintenance Agreement for a period of TBD months after the conclusion of the warranty period.  The Maintenance Agreement shall include, but not be limited to:

- Labor and materials, at no additional cost, to repair the Surge Protector Module.

- Labor and materials, at no additional cost, to provide test and adjustments to the Surge Protector Module.

- Regular inspections.

  - TRAINING

- Operator training shall be conducted for a minimum of TBD sessions, with a minimum session length of TBD hours at the customer’s site.

- Training shall include, but not be limited to the Surge Protector Module operation and diagnostics.

PART 2 – PRODUCTS

2.01	MANUFACTURED UNITS

- Model Number/Descriptions Table

| HCSP1 | Surge Protector Module for Power and Video |
| --- | --- |

  - SYSTEM PERFORMANCE

- The Surge Protector Module for Power and Video shall include, as a minimum, the following features/functions/specifications:

- The Surge Protector Module must be protected by the most extensive support services in the industry, including Customer Service, Pre-Sales Applications Assistance, After-Sales Technical Assistance, access to Technical Online Support, and Online Training using web conferencing.  The manufacturer shall provide 24/7 technical assistance and support via a toll-free telephone number at no extra charge.

- The Surge Protector Module and its components shall be thoroughly tested before shipping from the manufacturer’s facility.

- The Surge Protector Module shall provide protection for power and video in one compact module, and must include a single screw lug connection for single point grounding.

- The Surge Protector Module’s 24-volt power protection circuitry shall use Metal Oxide Varistors to allow the unit to reset itself after it dissipates the spikes to ground.

- The Surge Protection Module must have two (2) 75-Ohm female BNC connectors for video, and a terminal strip connection (AWG 22-14) for power.

- The Surge Protector Module shall not degrade the video’s image, with no signal loss, reflections, or image distortion as a result of the module.

- If the Surge Protector Module receives a hit beyond it’s capacity, the unit must “self-sacrifice” and protect the connected equipment from damage.

- The Surge Protector Module shall be lightweight and low-profile, allowing the unit to be mounted in an electrical junction box at the base of a pole or in an overhead cavity where the camera power connections are made.

- The Surge Protector Module shall operate to full specifications within the temperature range of 14° to 140° (-10° to 60° C).

- The Surge Protector Module shall be a Honeywell Video Systems  HCSP1 or equivalent.

  - MECHANICAL SPECIFICATIONS

- The Surge Protector Module must have the following mechanical specifications:

- Construction	High-Impact Plastic

- Finish	Gray

- Dimensions (HxWxD)	1.00” x 3.25” x 1.37”

(26mm x 83mm x 35mm)

- Unit Weight	2.5 oz. (70.9 g)

- Connections	Power:  Terminal Strip (14-22 AWG)

Video:  BNC Female In/Out, 75 Ohms

  - ELECTRICAL POWER REQUIREMENTS

- The Surge Protector Module must have the following electrical specifications:

- Video

- Insertion Loss	<1.0 dB @ 3.0 to 4.5 MHz

- Peak Pulse Current	60Amps Maximum

- Clamping	7V Center Pin to Shield

- Band Pass	0 to 2 GHz

- Power

- Input Protection	24VAC

- L1-L2 Clamping	47VRMS (Per Line)

- Peak Pulse Current	2,000 Amps Maximum

  - ENVIRONMENTAL CONDITIONS

- The Surge Protector Module shall be designed to meet the following environmental conditions:

- Operating Environment	Indoor

- Operating Temperature	14° to 140° F (-10° to 60° C)

- Humidity	0 to 98% non-condensing

- Emissions	CE:  EN50081-1

- Immunity	CE:  EN50130-4

PART 3 – EXECUTION

3.01  EXAMINATION

- Submission of a proposal confirms that the contract documents and site conditions are accepted without qualifications unless exceptions are specifically noted.

- The site shall be visited on a regular basis to appraise ongoing progress of other trades and contractors, make allowances for all ongoing work, and coordinate the requirements of this contract in a timely manner.

- The Surge Protector Module must be inspected before installation, and shall be free of any cosmetic defects or damage.

3.02  PREPARATION

- Prior to installation, the Surge Protector Module shall be configured and tested in accordance with the manufacturer’s instructions.

3.03  INSTALLATION

- The Surge Protector Module must be installed, programmed, and tested in accordance with the manufacturer’s instructions.

- In order to ensure a complete, functional Surge Protector Module, for bidding purposes, where information is not available from the Owner upon request, the worst-case condition shall be assumed.

- Interfaces shall be coordinated with the Owner’s representative, where appropriate.

- All necessary backboxes, racks, connectors, supports, conduit, cable, and wire must be furnished and installed to provide a complete and reliable Surge Protector Module installation.  Exact location of all boxes, conduit, and wiring runs shall be presented to the Owner for approval in advance of any installation.

- All conduit, cable, and wire shall be installed parallel and square with building lines, including raised floor areas.  Conduit fill shall not exceed forty percent (40%).  All wires shall be gathered and tied up to create an orderly installation.

3.04  TESTING AND CERTIFICATION

- The Contractor shall demonstrate the functionality of Surge Protector Module upon completion of installation, documenting the result of all tests and providing these results to the Owner.  The Surge Protector Module shall be tested in accordance with the following:

- The Contractor shall conduct a complete inspection and test of all installed Surge Protector Module equipment.  This includes testing and verifying operation with connected equipment.

- The Contractor shall provide staff to test all devices and all operational features of the system for witness by the Owner’s representative and the Authority Having jurisdiction.  All testing must be witnessed by the Owner’s representative, prior to acceptance.

- The testing and certification shall take place as follows:

- The Surge Protector Module shall be tested in conjunction with the manufacturer’s representative.

- All deficiencies noted in the above test shall be corrected.

- Test results shall be submitted to the consultant or Owner’s representative.

- The test and correction of any deficiencies shall be witnessed by the owner’s representative, and note.

- The Owner’s representative shall accept the system.

- The system test shall be witnessed by the Authority Having Jurisdiction.  Any deficiencies noted during the testing must be corrected.

- A letter of certification shall be provided to indicate that the tests have been performed, and all devices are operational.

END OF SECTION

Brief Specification

The Surge Protector Module shall provide protection for power and video in one compact, lightweight, low-profile module, allowing the unit to be mounted in an electrical junction box at the base of a pole or in an overhead cavity where the camera power connections are made.  The 24-volt power protection circuitry shall use Metal Oxide Varistors to allow the unit to reset itself after it dissipates the spikes to ground.  The Surge Protection Module must have two (2) 75-Ohm female BNC connectors for video, and shall not degrade the video’s image, with no signal loss, reflections, or image distortion.  If the Surge Protector Module receives a hit beyond its capacity, the unit must “self-sacrifice” and protect the connected equipment from damage. The Surge Protector Module shall be a Honeywell Video Systems HCSP1 or equivalent.