## Sheet1
Replacement Devices
| Old Range | Opal Replacement
| Old part number (ivory) | For retro-fits (ivory) | For new installations (white)
|  | Detectors without integral isolator | Detectors without integral isolator | detector with integral isolator
Optical smoke detector | SDX-751EM | NFX-OPT-IV | NFX-OPT | NFXI-OPT
Optical smoke and heat detector (OptiPlex) | SDX-751TEM | NFX-SMT2-IV | NFX-SMT2 | NFXI-SMT2
Optical smoke & heat detector with infra-red 9SMART3) | IRX-751TEM | NFX-SMT3-IV | NFX-SMT3 | NFXI-SMT3
Infra-red, carbon monoxide, optical, thermal multi-sensor (SMART4) | IRX-751CTEM | IRX-751CTEM-IV | IRX-751CTEM-W | N/A
Heat detector, fixed 58C | FDX-551EM | NFX-TFIX58-IV | NFX-TFIX58 | NFXI-TFIX58
Heat detector (A1R), rate of rise & fixed 58C | FDX-551REM | NFX-TDIFF-IV | NFX-TDIFF | NFXI-TDIFF
Heat detector, fixed 78C | FDX-551HTEM | NFX-TFIX78-IV | NFX-TFIX78 | NFXI-TFIX78
Detector base | B501 | B501AP-IV | B501AP | B501AP