## CO2 Sensor XRef
New SKU | Existing SKUs | Mounting | Output Type/Relay/Temperature sensor |  |  | CO2 RANGE | DISPLAY | HONEYWELL LOGO
C7233A1008 | C7232A1008 | WALL | 0-10VDC / 2-10VDC / | SPST RELAY (1A@50VAC/24VDC) | - | 0-2000ppm/Adjustable | YES | YES
4-20mA
C7233A1016 | C7232A1016 | WALL | 0-10VDC / 2-10VDC / | SPST RELAY (1A@50VAC/24VDC) | - | 0-2000ppm/Adjustable | NO | YES
4-20mA
C7233A1024 | C7232A1024 | WALL | 0-10VDC / 2-10VDC / 4-20mA | SPST RELAY (1A@50VAC/24VDC) | - | 0-2000ppm/Adjustable | YES | NO
C7233A1024 | C7232A1032 | WALL | 0-10VDC / 2-10VDC / | SPST RELAY (1A@50VAC/24VDC) | - | 0-2000ppm/Adjustable | NO | NO
4-20mA
C7263A1008 | C7262A1008 | WALL | 0-10VDC / 2-10VDC / | SPST RELAY (1A@50VAC/24VDC ) | Temperature Output (20K ohm NTC) | 0-2000ppm/Adjustable | YES | YES
4-20mA
C7263A1008 | C7262A1016 | WALL | 0-10VDC / 2-10VDC / 4-20mA | SPST RELAY (1A@50VAC/24VDC ) | Temperature Output (20K ohm NTC) | 0-2000ppm/Adjustable | NO | YES
C7233A1016 | C7632A1004 | WALL | 0-10VDC FIXED | - | - | 0-2000ppm/Fixed | NO | YES